SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

GUIDE SPECIFICATION

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

Specifier: Please see PART 4 for a listing of products specified in this Guide Specification.

Table of Contents

1	GENERAL	3

2	PRODUCTS	3

2.1	Network Audio Processor	3

2.1.1	Basis of Design	3

2.1.2	Device Definition	3

2.1.3	Device Architecture	4

2.1.4	Functions	4

2.1.5	Compliance	8

3	EXECUTION	8

4	APPENDICES	8

4.1	SPECIFIED PRODUCTS	8

4.1.1	Crestron DM-NAX-AP-100	8

# GENERAL

NOT USED in this Guide Specification.  Specifier shall Specify PART 1 administrative and procedural requirements as needed.

# PRODUCTS

## Network Audio Processor

Specifier Note:

The DM-NAX-AP-100 is an Intelligent Audio Processor for unified communications and commercial audio applications. The DM-NAX-AP-100 web interface is optimized to most configuration tasks automatically. The DM-NAX-AP-100 configures the settings on paired speakers and microphones to create a unified communications solution without having to manually set up advanced DSP parameters. Third-party devices may require initial setup before the DM-NAX-AP-100 can configure the necessary settings.

### Basis of Design

#### Crestron DM-NAX-AP-100

Specifier Note:

DM-NAX-POD-MIC-SPK
https://www.crestron.com/Products/Catalog/AV-Over-IP/DM-NVX-AV-Over-IP/DM-NAX-Intelligent-Audio/DM-NAX-AP-100

### Device Definition

#### Network Audio Processor with the following capabilities and features:

##### Mixing and processing of audio from paired microphones, distribution of program audio to paired speakers

##### Automatic configuration of up to eight paired devices

Specifier Note:

SAROS IC4P-W passive speakers are not included in the paired device count.

##### Support for proprietary audio-over-IP transmission standard by same manufacturer and AES67

##### Bidirectional stereo USB audio support to a host computer via a USB-C® connection

##### USB Audio Class 2 (UAC2) echo-cancelling speakerphone device

##### Dedicated network port to isolate audio-over-IP traffic onto a separate LAN

##### Power over Ethernet (PoE) or DC powered via an optional power pack

### Device Architecture

#### Environmental

##### Temperature: 41° to 104°F (5° to 40° C)

##### Humidity: 10% to 95% RH (noncondensing)

#### Construction

##### Enclosure: Lightly textured black finish, plastic housing

##### Mounting: Freestanding, stackable, surface mount and wall/ceiling mount option with bracket (black plastic)

#### Dimensions

##### Height: 1.35 in. (34 mm), 1.77 in. (45 mm) with mounting bracket

##### Width: 5.04 in. (128 mm), 5.36 in. (137 mm) with mounting bracket

##### Depth: 5.04 in. (128 mm)

#### Weight: 12.3 oz (348 g)

### Functions

#### Communications

##### Ethernet: For control and PoE, AoIP, and/or console, 100/1000 Mbps, auto-switching, auto-negotiating, auto-discovery, full/half duplex, DHCP

##### USB:Bidirectional USB Audio Class 2 (UAC2) device connection, up to 24-bit/48 kHz stereo audio transfer

Specifier Note:

Device enumerates as Crestron Echo-Canceling Speakerphone

#### Audio

##### DSP: Acoustic echo cancellation, automatic gain control, and dynamic noise suppression

##### Input Signal Types

###### USB stereo

###### Proprietary audio-over-IP transmission standard by same manufacturer

###### AES67

##### Output Signal Types

###### USB stereo

###### Proprietary audio-over-IP transmission standard by same manufacturer

###### AES67

#### Connectors

##### USB

###### (1) USB Type-C® connector, female

###### UAC2 audio support

Specifier Note:

Device enumerates as Crestron Echo-Canceling Speakerphone

##### 24 VDC 0.75 A

###### (1) 2.1 x 5.5 mm DC power connector

###### 24 VDC power input

##### LAN 1 (PoE+)

###### (1) 8-pin RJ45 connector, female

###### 100BASE-TX/1000BASE-T Ethernet port

###### Dedicated to control traffic and Power over Ethernet only

###### PoE PD (powered device) port

###### IEEE 802.3af Type 1 PoE Class 2 (5 W) compliant

###### Compatible with PoE compliant Ethernet switch or third-party PoE PSE

##### LAN 2

###### (1) 8-pin RJ45 connector, female

###### 100BASE-TX/1000BASE-T Ethernet port

###### Dedicated to Audio-over-IP traffic only

##### G

###### (1) 6-32 screw

###### Chassis ground lug

#### Controls and Indicators

##### PWR

###### (1) Green LED

###### Indicates that the device is connected to power and fully booted

##### LAN 1-2

###### (2) LEDs

###### Solid green indicates that the indicated network port has established a network link and is ready for pairing

###### Flashes teal in sequence with the other front panel LEDs to indicate that firmware is upgrading

###### Flashes blue in sequence with the other front panel LEDs to indicate that a connected speaker’s firmware is upgrading

##### AoIP

###### (1) LED

###### Solid green indicates that audio-over-IP traffic is passing in or out of the device

###### Solid yellow indicates that one or more paired devices are offline

###### Solid red indicates that all paired devices are offline

###### Flashes teal in sequence with the other front panel LEDs to indicate that firmware is upgrading

###### Flashes blue in sequence with the other front panel LEDs to indicate that a connected speaker’s firmware is upgrading

##### USB

###### (1) LED

###### Solid green indicates that a connection to a USB host is established

###### Flashes teal in sequence with the other front panel LEDs to indicate that firmware is upgrading

###### Flashes blue in sequence with the other front panel LEDs to indicate that a connected speaker’s firmware is upgrading

##### PAIR

###### (1) LED

###### Flashes blue to indicate that pairing is in process

###### Flashes teal in sequence with the other front panel LEDs to indicate that firmware is upgrading

###### Flashes blue in sequence with the front panel LEDs to indicate that a connected speaker’s firmware is upgrading

##### SETUP

###### (1) Push Button

###### Pressing and holding the SETUP button for 15 seconds with power supplied clears network settings and restores the default DHCP mode

###### To perform a factory restore, press and hold the SETUP button with power disconnected, then connect the power supply and continue to hold the SETUP button for 30 seconds

###### (1) LED, illuminates red when the button is pressed, flashes red when reset has been initiated

#### Power

##### PoE+

###### IEEE 802.3af Class 2 (5 W) compliant

###### Compatible with IEEE 802.3af compliant Ethernet switch or third-party PoE compliant PSE

##### Power Supply (optional)

###### Input: 100-240 VAC, 50/60 Hz

###### Output: 0.75 A @ 24 VDC

### Compliance

#### Regulatory Model: M202493003

#### FCC Part 15 Class B, IC Class B, CE, Intertek® Listed for US and Canada

# EXECUTION

NOT USED in this Guide Specification.  Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

Specifier Note: This Article includes Crestron products specified in this Guide Specification document.  This Article is for reference only and should not be required in actual project manual unless included in an overall system equipment list.

### Crestron DM-NAX-AP-100