- SECTION 27 41 16

- INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

- GUIDE SPECIFICATION

- Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

- Specifier:  Please see PART 4 for a listing of products specified in this Guide Specification.

- Table of Contents

- 1.1    USB 3.2 Extender	3

- 1.2    Basis of Design:	3

- 1.2.1    Crestron USB-EXT-3 KIT	3

- 1.3    Communication	3

- 1.3.1    The USB extender pair shall transmit and communicate over a single CAT 6a/7.	3

- 1.4    Device Architecture	3

- 1.4.1    The USB extender shall be composed of a local unit and a remote unit. 	3

- 1.4.2    The USB extender pair shall utilize a single CAT 6/7 type cable for USB data transmission.	3

- 1.4.3    Ethernet pass-through shall be supported over the same single cable connection as USB data.	3

- 1.5    Functions	3

- 1.5.1    Extend USB 3.2 over a single CAT 6a/7 Cable	3

- 1.6    Physical	4

- 1.6.1    Connectors included on Local device:	4

- 1.6.2    Connectors included on Remote device:	4

- 1.6.3    Connectors included on Local device and Remote device:	4

- 1.6.4    User Interface	5

- 1.7    Compliance	5

- 1.7.1    IC, CE, FCC Part 15 Class B digital device	5

## USB 3.2 Extender

## Basis of Design:

### Crestron USB-EXT-3 KIT

- Specifier Note:

- https://www.crestron.com/Products/Video/DigitalMedia-Endpoints/USB-Extenders/USB-EXT-3-KIT

- The Crestron USB-EXT-3 KIT offers a highly versatile USB 3.2 extender to support USB 3.2 peripherals such as UC soundbars and cameras. The maximum length of a standard 3.2 cable is limited to 6 ft (1.8 m), which is not adequate for most integrated solutions used in conference rooms and other meeting spaces. The USB-EXT-3 KIT provides a solution for the simultaneous extension of all USB signals up to 330 ft (100 m) over CAT 6a/7 cable at high speed up to 5 Gbps.

## Communication

### The USB extender pair shall transmit and communicate over a single CAT 6a/7.

## Device Architecture

### The USB extender shall be composed of a local unit and a remote unit.

### The USB extender pair shall utilize a single CAT 6/7 type cable for USB data transmission.

### Ethernet pass-through shall be supported over the same single cable connection as USB data.

## Functions

### Extend USB 3.2  over a single CAT 6a/7 Cable

#### Point-to-point connectivity for USB signal extension over CAT6a/CAT7 up to 330 ft (100 m)

#### Supports USB 3.2 Gen 1 data rate up to 5 Gbps

#### Supports USB 3.2, 2.0, and 1.1 signals simultaneously

#### Supports the following USB transfer types: control, interrupt, isochronous (ISO), and bulk

#### Integrated Gigabit Ethernet pass-through port

## Physical

### Connectors included on Local device:

#### USB 3.2 Gen 1 host port: connection to computer, media server, game console, or other USB host

##### (1) USB Type-B connector, female

### Connectors included on Remote device:

#### USB 3.2 Gen 1 device ports for connection to USB devices

##### (4) USB Type-A connector, female

##### Available Power: 1.2A (6W) per USB port

##### Backward compatibility with USB 2.0 and USB 1.1

### Connectors included on Local device and Remote device:

#### Link port: point to point connection between local unit and remote unit

##### (1) 8-pin RJ-45 connector, female

#### Ethernet 100BASE-TX/1000BASE-T: passthrough connection to Ethernet network or network-enabled device

##### (1) 8-pin RJ-45 connector, female

#### DC power connector

### User Interface

#### Panel Indicators

##### Devices include the following LED indicators: Power, Status, Link, USB 2, USB 3, and LAN

## Compliance

### IC, CE, FCC Part 15 Class B digital device