SECTION 27 41 16 
INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT 

GUIDE SPECIFICATION

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

Specifer:  Please see PART 4 for a listing of products specified in this Guide Specification.

Table of Contents
1    GENERAL	3
2    PRODUCTS	3
2.1    Touch Screen User Interface	3
2.1.1    Basis of Design Touch Screen:	3
2.1.2    Device Architecture	3
2.1.3    Graphical Display	3
2.1.4    Touch UI Functions	3
2.1.5    Functions	3
2.1.6    Communication and Power	4
2.1.7    Physical	4
3    EXECUTION	4
4    APPENDICES	4
4.1    SPECIFIED PRODUCTS	4
4.1.1    Crestron TSD-2220-B 	4

1	GENERAL
NOT USED in this Guide Specification. Specifier shall Specify PART 1 administrative and procedural requirements as needed.
2	PRODUCTS

2.1	Touch Screen User Interface

2.1.1	Basis of Design Touch Screen:
Specifier Note: Please see system drawings or equipment lists for specified model and quantity.
2.1.1.1	Crestron TSD-2220-B  

2.1.2	Device Architecture

2.1.2.1	The Touch Screen UI shall be composed of the following functional elements: 

2.1.2.1.1	Graphical touch video display 

2.1.2.1.2	Annotation Capability
Specifier Note: UI and Annotation capability require a Crestron Graphics Engine, (DGE-100 or DM-DGE-200-C).
2.1.2.1.3	Built-in stereo speakers   

2.1.3	Graphical Display

2.1.3.1	Graphical UI - Touch screen UI display shall support the following viewable elements when integrated with Digital Graphics Engine from same manufacturer:

2.1.3.1.1	Control buttons and objects 

2.1.3.1.2	Feedback indication via text, button object change in color, animated object or graphical element. 

2.1.3.1.3	H.264 or MJPEG Streaming video   

2.1.4	Touch UI Functions

2.1.4.1	Supported functions when integrated with seperate graphics engine by same manufacturer.
Specifier Note: UI capability requires a Crestron Graphics Engine, (DGE-100 or DM-DGE-200-C).
2.1.4.1.1	Touch Screen UI shall support Multi-Touch control interfacing. 

2.1.4.1.2	Touch Screen UI shall support gesture driven controls through custom programming and configuration.   

2.1.5	Functions
Specifier Note: UI capability requires a Crestron Graphics Engine, (DGE-100 or DM-DGE-200-C).
2.1.5.1	The Touch Screen shall include the following functionality when integrated with a graphics engine by same manufacturer:
Specifier Note: UI capability requires a Crestron Graphics Engine, (DGE-100 or DM-DGE-200-C).
2.1.5.1.1	Custom Control UI - control of integrated system components through custom programming or preset configuration of the system control processor by same manufacturer. 

2.1.5.1.2	System Integration - device shall support controls for compatible integrated AV systems, HVAC and Lighting hardware, and  scheduling and management systems. 

2.1.5.1.3	Built-in Annotation and Remote Annotation
Specifier Note: Remote Annotation requires additional compatible graphics engines.
2.1.5.1.4	Custom audio feedback via custom programming. 

2.1.5.1.5	Multi-Language support 

2.1.5.1.6	Internet Browsing shall be supported via Ethernet network.  
Specifier Note: Internet access required and to be provided by integrator.
2.1.6	Communication and Power

2.1.6.1	Communication: USB 

2.1.6.2	Power: Included power supply  

2.1.7	Physical

2.1.7.1	Touch Screen UI shall be available in the following sizes:

2.1.7.1.1	21.5 inch TFT active-matrix color LCD touch screen 1920 by 1080 resolution display.
Specifier Note: Unit is a VESA mounting device.
3	EXECUTION
NOT USED in this Guide Specification. Specifier shall Specify PART 3 On-Site work as needed.
4	APPENDICES

4.1	SPECIFIED PRODUCTS

4.1.1	Crestron TSD-2220-B