- SECTION 27 41 16

- INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

- GUIDE SPECIFICATION

- Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

- Specifier:  Please see PART 4 for a listing of products specified in this Guide Specification.

- Table of Contents

- 1    GENERAL	3

- 2    PRODUCTS	3

- 2.1    Custom Configured Table Interface	3

- 2.1.1    Basis of Design:	3

- 2.1.2    Customizable interface modules	3

- 2.1.3    Device Architecture	5

- 2.1.4    Operation	6

- 3    EXECUTION	6

- 4    APPENDICES	6

- 4.1    SPECIFIED PRODUCTS	6

- 4.1.1    Crestron FT2-1200-ELEC	6

- 4.1.2    Crestron FT2-1200-MECH	6

- 4.1.3    Crestron FT2-1400-ELEC	6

- 4.1.4    Crestron FT2-1400-MECH	6

- 4.1.5    Crestron FT2-202-ELEC	6

- 4.1.6    Crestron FT2-202-MECH	6

- 4.1.7    Crestron FT2-500-ELEC	6

- 4.1.8    Crestron FT2-500-MECH	6

- 4.1.9    Crestron FT2-700-ELEC	6

- 4.1.10    Crestron FT2-700-MECH	6

- 4.1.11    Crestron FT2-700-MECH-PTL	7

- 4.1.12    Crestron FT2-700-MECH-PTL	7

# GENERAL

- NOT USED in this Guide Specification.  Specifier shall Specify PART 1 Administrative and Procedural Requirements as needed.

# PRODUCTS

## Custom Configured Table Interface

### Basis of Design:

#### Crestron FT2 Series Electrical and Mechanical

- Specifier: See Appendix for listing of product models.

### Customizable interface modules

#### The table interface shall support custom configuration of connection modules installed in device.

##### AV pass through connectors: HDMI, DisplayPort, VGA, Mini-TRS, RCA, RJ-45, and USB-A

##### USB Charging connectors

##### AC Power module in single dual and triple receptacle configurations

#### Manufacturer shall provide the following options for modular automatic retracting interface cables:

##### DisplayPort to DisplayPort

##### DisplayPort to HDMI

##### HDMI to HDMI

##### Mini DisplayPort to DisplayPort

##### Mini DisplayPort to HDMI

##### USB-C to HDMI

##### USB-C to USB-C charging cable

##### Stereo 3.5mm Plug to Stereo 3.5mm Plug

##### RJ-45 to RJ-45, CAT6

##### USB-A to USB-B, USB 2.0

##### HD15 male to HD15 male

#### Manufacturer shall provide the following options for modular pull through interface cables:

##### DisplayPort to DisplayPort

##### DisplayPort to HDMI

##### HDMI to HDMI

##### Mini DisplayPort to DisplayPort

##### Mini DisplayPort to HDMI

##### USB-C to HDMI

##### Stereo 3.5mm Plug to Stereo 3.5mm Plug

##### RJ-45 to RJ-45, CAT6

##### USB-A to USB-A or USB-B, USB 2.0

##### HD15 male to HD15 male

#### Manufacturer shall provide the following options for modular retracting interface cables:

##### DisplayPort to DisplayPort

##### DisplayPort to HDMI

##### HDMI to HDMI

##### Mini DisplayPort to DisplayPort

##### Mini DisplayPort to HDMI

##### USB-C to HDMI

##### USB-C to USB-C charging cable

##### Stereo 3.5mm Plug to Stereo 3.5mm Plug

##### RJ-45 to RJ-45, CAT6

##### USB-A to USB-A or USB-B, USB 2.0

##### HD15 male to HD15 male

### Device Architecture

#### The Table Interface shall be constructed of metal

#### The unit shall include a mechanically retracting lid

##### The unit shall be available in versions with cable pass through capability in the retracting lid.

- Specifier Note

- The FT2-700 series is availabel in a "PTL" Pass through lid version.

- FT2-700-MECH-PTL

- FT2-700-ELEC-PTL

#### The unit shall include a magnetically attached bezel

### Operation

#### The mechanically retracting lid shall be operated by pressing lid to actuate retraction.

# EXECUTION

- NOT USED in this Guide Specification.  Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

- Specifier Note: This Article includes Crestron products specified in this Guide Specification document.  This Article is for reference only and should not be required in actual project manual unless included in an overall system equipment list.

### Crestron FT2-1200-ELEC

### Crestron FT2-1200-MECH

### Crestron FT2-1400-ELEC

### Crestron FT2-1400-MECH

### Crestron FT2-202-ELEC

### Crestron FT2-202-MECH

### Crestron FT2-500-ELEC

### Crestron FT2-500-MECH

### Crestron FT2-700-ELEC

### Crestron FT2-700-MECH

### Crestron FT2-700-MECH-PTL

### Crestron FT2-700-MECH-PTL