- SECTION 27 41 16

- INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

- GUIDE SPECIFICATION

- Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

- Specifier:  Please see PART 4 for a listing of products specified in this Guide Specification.

- Table of Contents

- 1    GENERAL	3

- 1.1    SUMMARY	3

- 1.1.1    Section Includes:	3

- 1.2    RELATED REQUIREMENTS	3

- 1.2.1    Section 25 08 00 - Commissioning of Integrated Automation	3

- 1.2.2    Section 25 10 00 - Integrated Automation Network Equipment	3

- 1.2.3    Section 25 11 13 - Integrated Automation Network Servers	3

- 1.2.4    Section 25 13 13 - Integrated Automation Control and Monitoring Network Supervisory Control	3

- 1.2.5    Section 25 13 16 - Integrated Automation Control and Monitoring Network Integration Panels	3

- 1.2.6    Section 25 13 19 - Integrated Automation Control and Monitoring Network Interoperability	3

- 1.2.7    Section 25 15 16 - Integrated Automation Software for Control and Monitoring Networks	3

- 1.2.8    Section 26 09 43.13 - Digital-Network Lighting Controls	3

- 1.2.9    Section 27 15 00 - Communications Horizontal Cabling	3

- 1.2.10    Section 27 41 00 - Audio-Video Systems	3

- 1.2.11    Section 27 41 16 - Audio-Video Systems and Equipment	3

- 1.3    REFERENCES	4

- 1.3.1    Abbreviations and Acronyms	4

- 2    PRODUCTS	4

- 2.1    Phone Based UC System	4

- 2.1.1    Basis of Design Desk Phone UC System	4

- 2.1.2    Basis of Design Support Plan	5

- 2.1.3    Desk Phone UC System	5

- 2.1.4    Network Deployment and Management	6

- 2.1.5    Manufacturer Service and Support	6

- 3    EXECUTION	7

- 4    APPENDICES	7

- 4.1    SPECIFIED PRODUCTS	7

- 4.1.1    Crestron UC-P10-T-C-HS-(I)	7

- 4.1.2    Crestron UC-P10-T-C-(I)	7

- 4.1.3    Crestron UC-P10-T-HS-(I)	7

- 4.1.4    Crestron UC-P10-T-(I)	7

- 4.1.5    Crestron UC-P8-T-C-HS	7

- 4.1.6    Crestron UC-P8-T-C-(I)	7

- 4.1.7    Crestron UC-P8-T-HS-(I)	7

- 4.1.8    Crestron UC-P8-T-(I)	7

# GENERAL

- NOT USED in this Guide Specification.  Specifier shall Specify PART 1 administrative and procedural requirements as needed.

## SUMMARY

### Section Includes:

#### Phone Based UC System

## RELATED REQUIREMENTS

### Section 25 08 00 - Commissioning of Integrated Automation

### Section 25 10 00 - Integrated Automation Network Equipment

### Section 25 11 13 - Integrated Automation Network Servers

### Section 25 13 13 - Integrated Automation Control and Monitoring Network Supervisory Control

### Section 25 13 16 - Integrated Automation Control and Monitoring Network Integration Panels

### Section 25 13 19 - Integrated Automation Control and Monitoring Network Interoperability

### Section 25 15 16 - Integrated Automation Software for Control and Monitoring Networks

### Section 26 09 43.13 - Digital-Network Lighting Controls

### Section 27 15 00 - Communications Horizontal Cabling

### Section 27 41 00 - Audio-Video Systems

### Section 27 41 16 - Audio-Video Systems and Equipment

## REFERENCES

### Abbreviations and Acronyms

#### AV - Audio-Video

#### BYOD - Bring You Own Device

#### UC - Unified Communications

#### UCS - Unified Communication System

#### UCC - Unified Communications Computer

#### PIR - Pyroelectric InfraRed

# PRODUCTS

## Phone Based UC System

- Specifier Note:

- Multiple models are offered to accommodate different applications.

- UC-P8/P10-T-x: Desk speakerphone with user interface for Microsoft Teams software

- UC-P8/P10-T-C: Handset desk phone with user interface and built-in HD camera for Microsoft Teams software

### Basis of Design Desk Phone UC System

- Specifier Note:

- The UC-P8-T series and UC-P10-T series are premium VoIP desk phones designed for use with the Microsoft Teams® intelligent communications platform. They provide superior voice calling, full-duplex hands-free conferencing, consistent user experience of Microsoft Teams touch screen UI, simple operation with comprehensive call and contact management features, built-in calendaring, and one-touch meeting joins.

- HD Camera Version

- The UC-P8-T-C series and UC-P10-T-C series are premium video desk phones designed for use with the Microsoft Teams® intelligent communications platform. They provide superior video calling, full-duplex hands-free conferencing, consistent user experience of Microsoft Teams touch screen UI, simple operation with comprehensive call and contact management features, built-in calendaring, and one-touch meeting joins.

- https://www.crestron.com/Products/Workspace-Solutions/Unified-Communications/Crestron-Flex-Phones

#### Crestron UC-P10-T-(C) Series

#### Crestron UC-P8-T-(C) Series

### Basis of Design Support Plan

#### Crestron UC-FLEXCARE

### Desk Phone UC System

#### Desktop Device

##### Audio

###### Full-duplex speakerphone operation

###### Wired or Bluetooth enabled headset support

- Specifier Note:

- The headset is not included. Visit https://www.microsoft.com/en-us/microsoft-365/microsoft-teams/across-devices/devices/ for recommended accessories.

###### Hearing aid compatible handset

- Specifier Note:

- Handsets are only included  with the "HS" versions:

- UC-P8-x-HS

- UC-P8-x-HS-I

##### User Interface

###### Integrated capacitive, multi-touch capable touch screen user interface

Capacitive buttons shall include: call controls and muting and volume controls

##### Video

###### The manaufacturer shall make available built-in HD video camera versions of the desk phone UC systems.

- Specifier Note:

- The UC-P8-T and UC-P10-T are both available in a Built-In camera version.  The UC-P8-T-C-(HS)-(I) and UC-P10-T-C-(HS)-(I) include a built-in HD camera.

##### Software platform support:

###### Native Microsoft Teams Rooms Experience

#### System Display

##### Phone shall display system information via touch screen display.

#### Built-in Sensors

##### Ambient light sensor

##### PIR Occupancy sensor

### Network Deployment and Management

#### The device shall support:

##### Cloud based management service by same manufacturer

##### Cloud-based provisioning enabling complete network configuration in advance of hardware installation, with touchless updates following installation.

### Manufacturer Service and Support

#### Manufacturer shall make available an optional Service and Support plan including the following:

- Specifier Note:

- Please see the following link for additional information on the Crestron Flex Care Plan.

- https://www.crestron.com/Legal/FlexCareTerms

- All provisions of Crestron’s Standard Terms and Conditions of Sale and Standard Limited Warranty, both available at https://www.crestron.com/Legal/sales-terms-conditions-warranties, ( and at www.crestron.com/crestroneuropeterms for Europe) continue to apply to the Crestron Flex Care Plan and the Eligible Products.

- The complete list of Eligible Products can be found at https://www.crestron.com/Products/Featured-Solutions/Crestron-Flex.

##### Advance Replacements

##### Extended Remote Support Hours

##### Five Year Extended Limited Warranty

##### Reduced Rate On-Site Support

# EXECUTION

- NOT USED in this Guide Specification.  Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

### Crestron UC-P10-T-C-HS-(I)

### Crestron UC-P10-T-C-(I)

### Crestron UC-P10-T-HS-(I)

### Crestron UC-P10-T-(I)

### Crestron UC-P8-T-C-HS

### Crestron UC-P8-T-C-(I)

### Crestron UC-P8-T-HS-(I)

### Crestron UC-P8-T-(I)