# SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

Equipment Specified in this section:

AMP-225

AMP-150-70

AMP-150-100

AMP-2100

AMP-2100-70

AMP-2100-100

AMP-1200-70

AMP-1200-100

Table of Contents

PART 1	GENERAL	3

1.1	SUMMARY	3

A.	Section Includes	3

PART 2	PRODUCTS	3

2.1	AUDIO AMPLIFIERS	3

A.	Modular Audio Amplifier Series	3

B.	Physical	4

C.	Rear Panel	4

D.	Front Panel	5

E.	Agency Listings	5

F.	Warranty	5

PART 3	NOT USED	5

END OF SECTION 27 41 16	5

# SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

GENERAL

SUMMARY

Section Includes

Modular Audio Amplifiers

PRODUCTS

AUDIO AMPLIFIERS

Specifier Note:

AMPLIFIER TYPES:

AMPLIFIER TYPE 1 – Crestron AMP-225

AMPLIFIER TYPE 2 – Crestron AMP-150-70

AMPLIFIER TYPE 3 – Crestron AMP-150-100

AMPLIFIER TYPE 4 – Crestron AMP-2100

AMPLIFIER TYPE 5 – Crestron AMP-2100-70

AMPLIFIER TYPE 6 – Crestron AMP-2100-100

AMPLIFIER TYPE 7 – Crestron AMP-1200-70

AMPLIFIER TYPE 8 – Crestron AMP-1200-100

Modular Audio Amplifier Series

The Audio Amplifier shall be purpose built for professional use

The amplifier shall be Energy Star certified

Each Modular Amplifier shall be supplied with a complete hardware kit to mount the amp in a EIA compliant equipment rack, surface mounted on a wall or under a table

The amplifier shall provide a slide-lock system to join quarter and half rack width modules together to form a 1 RU assembly for mounting in EIA standard enclosures

All Modules shall be standard 1RU height, 1.74”, 45cm

Models shall be selected to service the loudspeaker type and power as required:

AMPLIFIER TYPE-1, 2x25W low impedance, quarter rack enclosure

AMPLIFIER TYPE-2, 1x50W high impedance 70V, quarter rack enclosure

AMPLIFIER TYPE-3, 1x50W high impedance 100V, quarter rack enclosure

AMPLIFIER TYPE-4, 2x100W low impedance, half rack enclosure

AMPLIFIER TYPE-5, 2x100W high impedance 70V, half rack enclosure

AMPLIFIER TYPE-6, 2x100W high impedance 100V, half rack enclosure

AMPLIFIER TYPE-7, 1x200W high impedance 70V, half rack enclosure

AMPLIFIER TYPE-8, 1x200 high impedance 100V, half rack enclosure

All models shall have an input sensitivity of 1.29V, +4dBu balanced for the rated power

All models shall have an input sensitivity of 0.316V, -10dBV unbalanced for the rated power

All models shall include a signal clip limiter

Physical

The amplifier shall mount:

Using the supplied slide-lock system to join multiple modules forming a 1RU assembly for EIA rack mounting

Using the supplied angle brackets for surface attachment to a wall behind a video screen or under a table

Using the supplied rubber feet as a free-standing device in a credenza or on a shelf

Unit depth shall be 10.46”, 266mm

The convection cooling scheme shall facilitate front to back airflow

The recessed front panel attenuator(s) shall control the analog output(s), screwdriver adjustable

Included magnetic covers shall obscure the attenuator(s) to prevent tampering

Modules with one channel output shall accept a two channel input that will be summed to mono

Modules with two channel outputs shall accept a two channel input that feeds a single output channel

The amplifier shall include an internal Universal Power Supply

Operational 50-60Hz, 100-240VAC

Provided with a country specific IEC cable

Rear Panel

Connectors

Each model shall provide balanced input(s), +4dBu, using Phoenix style removable blocks

Each model shall provide unbalanced input(s), -10dBV, using RCA style connectors

All models shall use a Phoenix style removable block on the output

A chassis ground lug shall be provided for in-rack use

Front Panel

The amplifier shall have front panel LED status indicators

PWR: Bi-color, green operational and amber standby for Energy Star

Fault: Red indicates over temperature or over current event

Signal: Bi-color, green input signal and red signal clipping

Agency Listings

The Amplifier shall carry the following certifications and compliance

UL 60065 listed, Commercial Audio Equipment

FCC Class A listed

Energy Star Certified

Compliant with the RoHS directive.

Warranty

The product warranty shall be 3 years.

NOT USED

END OF SECTION 27 41 16