SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

GUIDE SPECIFICATION

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

Specifer:  Please see PART 4 for a listing of products specified in this Guide Specification.

Table of Contents

1	GENERAL	4

1.1	UI: User Interface	4

1.2	SYSTEM DESCRIPTION	4

1.2.1	Collaborate 2-14 People	4

1.3	RELATED REQUIREMENTS	4

1.3.1	Section 25 08 00 - Commissioning of Integrated Automation	4

1.3.2	Section 25 10 00 - Integrated Automation Network Equipment	4

1.3.3	Section 25 11 13 - Integrated Automation Network Servers	4

1.3.4	Section 25 13 13 - Integrated Automation Control and Monitoring Network Supervisory Control	4

1.3.5	Section 25 13 16 - Integrated Automation Control and Monitoring Network Integration Panels	4

1.3.6	Section 25 13 19 - Integrated Automation Control and Monitoring Network Interoperability	4

1.3.7	Section 25 15 16 - Integrated Automation Software for Control and Monitoring Networks	4

1.3.8	Section 26 09 43.13 - Digital-Network Lighting Controls	4

1.3.9	Section 27 15 00 - Communications Horizontal Cabling	4

1.3.10	Section 27 41 00 - Audio-Video Systems	4

1.4	REFERENCES	5

1.4.1	Abbreviations and Acronyms	5

2	PRODUCTS	5

2.1	Tabletop Conference System	5

2.1.1	Basis of Design Tabletop Conference System	5

2.1.2	The Tabletop Conference System shall be composed of the following system components:	5

2.1.3	External Device and System Integration	6

2.1.4	Video Presentation	6

2.1.5	Speakerphone	6

2.1.6	Room Occupancy Detection	7

2.1.7	Touch Screen User Interface	7

2.1.8	Network Management	7

2.1.9	Mute Control	7

2.1.10	Network Security	8

2.2	Display Device	8

2.2.1	Display device shall be controllable via a built-in RS-232 connection port.	8

2.2.2	Display device shall support 4K video through built-in HDMI input connector(s).	8

2.3	Computer	8

2.3.1	Computer or Laptop shall include an HDMI video output connection port.	8

2.4	HD Camera	8

2.4.1	Basis of Design USB Camera:	8

2.4.2	System shall include one High Definition video camera.	8

3	EXECUTION	8

4	APPENDICES	8

4.1	SPECIFIED PRODUCTS	8

4.1.1	Crestron CCS-UC-1-AV	8

4.1.2	Crestron CCS-CAM-USB-F-100	8

# GENERAL

## UI: User Interface

## SYSTEM DESCRIPTION

### Collaborate 2-14 People

#### See AV System Drawings for device quantities and connection details.

Specifier Note: See example AV System Drawing for Collaborate 2-14 People

#### Display System

##### Video Display Devices - Room shall include a single video display.  Display shall have the capability of viewing any connected video source.

#### AV Sources

##### Laptop Computers

#### User Interface

##### User Interface - Room shall include a table top conference system touch screen user interface.

##### Room  scheduling through touch screen user interface(s) with on-screen information display viewable on room display(s).

Specifier: Retain this article if room system includes Fusion integration.

## RELATED REQUIREMENTS

### Section 25 08 00 - Commissioning of Integrated Automation

### Section 25 10 00 - Integrated Automation Network Equipment

### Section 25 11 13 - Integrated Automation Network Servers

### Section 25 13 13 - Integrated Automation Control and Monitoring Network Supervisory Control

### Section 25 13 16 - Integrated Automation Control and Monitoring Network Integration Panels

### Section 25 13 19 - Integrated Automation Control and Monitoring Network Interoperability

### Section 25 15 16 - Integrated Automation Software for Control and Monitoring Networks

### Section 26 09 43.13 - Digital-Network Lighting Controls

### Section 27 15 00 - Communications Horizontal Cabling

### Section 27 41 00 - Audio-Video Systems

## REFERENCES

### Abbreviations and Acronyms

#### CEC:  Consumer Electronics Control

#### EDID:  Extended display identification data

#### HDCP:  High-bandwidth Digital Content Protection

#### HDMI:  High-Definition Multimedia Interface

#### IDF: Intermediate Distribution Frame

#### KSV: Key Selection Vector

#### MDF: Main Distribution Frame

#### NVP: Nominal Velocity of Propagation

# PRODUCTS

## Tabletop Conference System

### Basis of Design Tabletop Conference System

#### Crestron CCS-UC-1-AV / CCS-UC-1

Specifier Note:

Multiple CCS-U-1 models are offered to accommodate different applications and budgets. The base unit (CCS-UC-1) supports full SIP VoIP speakerphone, Bluetooth, and USB Audio capabilities. The video package (CCS-UC-1-AV KIT) adds capabilities for multimedia presentation and videoconferencing, and includes a USB camera. Both models are powerable using PoE+, and versions of each are also offered with a 100-240V universal power pack included (CCS-UC-1 W/PS KIT & CCS-UC-1-AV W/PS KIT). All models come complete with all required cables.

### The Tabletop Conference System shall be composed of the following system components:

#### HDMI Input and Output

#### LAN ports

#### Microphone

#### Optional external microphone connection

#### Speaker

#### USB Camera and audio ports

#### User interface

### External Device and System Integration

#### Crestron Fusion Cloud and Pinpoint App

#### HDMI wired source device

#### Laptop running 3rd party soft codec

#### Microsoft Exchange Server

#### Mobile phone with Bluetooth

#### SIP compliant phone system

#### Wired or Wireless Ethernet video connection

### Video Presentation

Specifier: Only the CCS-UC-1-AV KIT version includes video presentation features. Please see CCS-UC-1 Spec. Sheet Packages table for more information.

#### The HDMI and presentation gateway shall be internally routed to the Tabletop Conference System’s HDMI output for connection to the room display.

#### The Tabletop Conference System shall include a built-in Ethernet wired or wireless presentation gateway.  In wireless Ethernet mode a video source may connect to the system wirelessly.

#### The Tabletop Conference System shall include a USB HD camera for integration with BYOD laptop with web video conferencing software.

Specifier Note:

Videoconferencing & Web Collaboration

•    Mercury can turn any space into a video conference room by simply connecting a laptop running

Skype® for Business, Cisco WebEx®, GotoMeeting®, Slack®, or another web conferencing or UC application.

•    Connect the laptop via USB and Mercury provides enhanced audio along with a high-definition view of the whole room through the included USB camera.

•    No more huddling around a laptop to interact and share content with remote participants. Connect the laptop’s HDMI output to allow the whole room to view content and camera images on the main display.

Please see link for more details: http://www.crestron.com/products/model/CCS-UC-1

#### The Tabletop Conference System shall include an HDMI input connection for connection of a full-motion HD 1080p60 AV source to the room display.

### Speakerphone

#### Bluetooth paired mobile device

#### Laptop Softphone software

#### The Tabletop Conference System shall include full-duplex speakerphone support for the following:

#### VoIP systems

### Room Occupancy Detection

#### Controlled devices may be powered down in an unoccupied room state.

#### The Tabletop Conference System shall include built-in room occupancy sensing capabilities using motion detection and voice activity for determining occupied or unoccupied status state.

#### Through software management systems an unoccupied room may be made available on the management system calendar.

### Touch Screen User Interface

#### The Tabletop Conference System shall include an integrated touch screen user interface with the following capabilities:

##### Answering voice calls

##### Dialing voice calls

##### Muting microphone(s)

#### The Tabletop Conference System shall support integration with Microsoft Exchange and Crestron Fusion Cloud software management systems. Through software management system the following user interface features shall be supported:

##### Extend meeting end time

##### Look up contacts

##### Manage room schedule

##### Schedule new meeting

##### View meeting progress showing time remaining

### Network Management

#### The Tabletop Conference System shall support:

##### Cloud-based provisioning enabling complete network configuration in advance of hardware installation, with touchless updates following installation.

##### Crestron Fusion Cloud management enables monitoring and logging of room and equipment usage, as well as centralized help desk support.

##### Individual configuration using a computer web browser.

### Mute Control

#### The Tabletop Conference system shall include a mute control with bright bi-color indicator for mute state visibility.

### Network Security

#### The Tabletop Conference System shall support advanced security features including:

##### 802.1x authentication

##### Active Directory credential management

##### LDAP directory management

##### Secondary LAN port:

###### VoIP or built-in presentation gateway traffic may be isolated on a secondary network

##### SRTP, SSH, TLS, and HTTPS.

## Display Device

### Display device shall be controllable via a built-in RS-232 connection port.

### Display device shall support 4K video through built-in HDMI input connector(s).

## Computer

### Computer or Laptop shall include an HDMI video output connection port.

## HD Camera

### Basis of Design USB Camera:

#### Crestron CCS-CAM-USB-F-100

### System shall include one High Definition video camera.

# EXECUTION

NOT USED in this Guide Specification. Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

Specifier Note: This Article includes Crestron products specified in this Guide Specification document. This Article is for reference only and should not be required in actual project manual unless included in an overall system equipment list.

### Crestron CCS-UC-1-AV

### Crestron CCS-CAM-USB-F-100