SECTION 27 41 16

INTEGRATED AUDIO-VIDEO SYSTEMS AND EQUIPMENT

GUIDE SPECIFICATION

Specifier: The Specifier/Design Professional is responsible for the accuracy of all project specifications, including system application and coordination with related sections.  This guide specification is provided as a convenience and requires editing to match actual project requirements.  CRESTRON ELECTRONICS, INC. SHALL NOT BE LIABLE FOR ANY DAMAGES ARISING OUT OF THE USE OF ANY OF ITS GUIDE SPECIFICATIONS.  For Crestron design assistance and design review please contact Sales Support Services Department at   800.237.2041 or techsales@crestron.com.

Specifier: Please see PART 4 for a listing of products specified in this Guide Specification.

Table of Contents

1	GENERAL	3

2	PRODUCTS	3

2.1	Room Availability Status Indicator, Wall Mount with USB-C Adapter	3

2.1.1	Basis of Design	3

2.1.2	Device Definition	3

2.1.3	Device Architecture	3

2.1.4	Functions	4

3	EXECUTION	5

4	APPENDICES	5

4.1	SPECIFIED PRODUCTS	5

4.1.1	Crestron SIW-100-USB	5

# GENERAL

NOT USED in this Guide Specification.  Specifier shall Specify PART 1 administrative and procedural requirements as needed.

# PRODUCTS

## Room Availability Status Indicator, Wall Mount with USB-C Adapter

Specifier Note:

The SIW-100-USB KIT includes the SIW-100 room availability status indicator and the ADPT-USB-USB-RA USB-C® to USB-A adapter. Each adapter can be used to convert an existing room availability sign (SIW, SSW, or SSC series) from USB-A to USB-C for compatibility with TSW-80 touch screens.

### Basis of Design

#### Crestron SIW-100-USB

Specifier Note:

SIW-100-USB
https://www.crestron.com/Products/Catalog/Scheduling/Availability-Signs/Wall-Mount/SIW-100-USB-KIT

### Device Definition

#### Room Availability Status Indicator with the following capabilities and features:

##### Indication of room availability

##### Inclusion of USB-C® to USB-A adapter

##### Compatibility with touch screens by same manufacturer

##### Visibility at 50 ft (15 m)

##### Custom functionality when connected to control system by same manufacturer

##### Support for mounting in single-gang electrical box or plaster ring

##### Illumination in green or red to indicate room availability status

### Device Architecture

#### Environmental

##### Temperature: 41° to 113°F (5° to 45° C)

##### Humidity: 10% to 90% RH (noncondensing)

##### Heat Dissipation

###### 4 BTU/hr on USB power

###### 7 BTU/hr on proprietary power/data transmission standard by same manufacturer

#### Construction

##### Composition: Metal bracket with replaceable acrylic lens and magnetically held gray plastic bezel

##### Mounting: Mounts to a 1-gang U.S. electrical box or plaster ring

#### Dimensions

##### Height: 6.41 in. (163 mm)

##### Width: 2.79 in. (71 mm)

##### Depth: 2.16 in. (55 mm)

##### USB-C to USB-A adapter length: 6.00 in. (152 mm)

Specifier Note:

Indicator projects 2 in. (52 mm) from the mounting surface

### Functions

#### Indicator

##### Material: Acrylic

##### Illumination: Edge lit RGB LED

##### Functionality: Supports alternating red/green indication of room availability status when connected to a room scheduling touch screen via USB, supports RGB color mixing when connected to a control system

#### Communications

##### USB: USB 2.0 device for connection to touch screen by same manufacturer

##### Proprietary power/data transmission standard by same manufacturer: Network client mode

#### Connectors

##### USB

###### (1) Micro USB Type B connector, female

###### USB 2.0 device port

###### Plenum-rated 15 ft (4.57 m) micro B male to A male USB cable included

#### Controls

##### CNET ID: (1) Push button (behind bezel) for touch-settable ID utilizing proprietary power/data transmission standard by same manufacturer

#### Power

##### USB: 2.4 W @ 5 V USB power

##### Proprietary power/data transmission standard power usage: 2.4 W @ 24 VDC

# EXECUTION

NOT USED in this Guide Specification.  Specifier shall Specify PART 3 On-Site work as needed.

# APPENDICES

## SPECIFIED PRODUCTS

Specifier Note: This Article includes Crestron products specified in this Guide Specification document.  This Article is for reference only and should not be required in actual project manual unless included in an overall system equipment list.

### Crestron SIW-100-USB